**Legionella Check List for Melinda Cottage**

**Person under taking the assessment: M Annis**

**Position: Owner**

**Date of assessment: 30th June 2020**

|  |
| --- |
| Property Address8 Melinda CottageHigh StreetEast RuntonCromer NR27 9NS |
| Ensure that any debris is not getting into the water system by ensuring water tank is enclosedNo hot water tank at property |
| Ensure water tanks have a through flow of waterNo hot water tank at property |
| Ensure that there is no redundant pipework in which water could become stagnantThere is no redundant pipework at property |
| The water tank is set to a min of 60 degrees CNo hot water tank at property |
| Make sure shower heads are cleaned and disinfected weeklyThis is included in the pre let clean. See check list for details |
| Any machinery/equipment that contains water is regularly cleanedDishwasher and washing machine are run and cleaned at start of season and as part of pre let clean |
| Properties where the water system is not regularly in use (self catering lets) should take additional precautions to ensure water does not stagnate.Hot and cold water taps are run through at start of the season and pre let if property has not been used for previous 2 weeks |
| Additional Comments |
|  |